Component-Based Design and Development for Robust Medical Applications

Kevin Cleary, Hee Su Kim, and Sohan Ranjan

Imaging Sciences and Information Systems Center, Georgetown University. Washington, DC, USA

{cleary,ranjan,hkim}@isis.imac.georgetown.edu

M. Brian Blake

Department of Computer Science, Georgetown University, Washington, DC, USA

blakeb@cs.georgetown.edu

Kevin Gary

Department of Computer Science, Arizona State University, Mesa, Arizona, USA

kgary@asu.edu

Stephen Aylward and Julien Jommer

Department of Computer Science, University of North Carolina-Chapel Hill, Raleigh,NC

Luis Ibanez

Kitware Incorporated Clifton Park, New York, USA

luis.ibanez@kitware.com

Component-Based Design and Development for Robust Medical Applications

# INTRODUCTION

Many times, software applications for medical devices are designed and developed by medical specialists as opposed to experienced software engineers.  Although, it not uncommon for medical specialists to be effective programmers, in some cases, they lack the software design expertise that have been developed in the software engineering discipline over the last 40 years.  Typically, shortcomings in the software analysis and design phases result in rigid software that is not resilient to change, and ultimately reduce the operational life of the underlying applications.  The Imaging Science and Information Systems (ISIS) Center at Georgetown University has teamed with Kitware, Inc. to develop a component-based infrastructure to support the area of image-guided surgery (Image-Guided Surgery Toolkit (IGSTK)) [1][2][3].  In collaborating with software engineering faculty members from the computer science departments of the University of Arizona, Georgetown University, and the University of North Carolina, several interesting software engineering challenges and potential resolutions have been determined in designing and developing software applications in the medical domain.  In particular, this alliance of medical specialists and software engineers has investigated the customization of software engineering practices for medical applications-based software design processes and implementation practices.  The arguments in this position paper are directed to the workshop topics, Foundations for Integration of Medical Device Systems and High Confidence Medical Device Software Development and Assurance.  These arguments reflect upon the observations made in this unique environment.

# Future Software Integration for Medical Device Systems and Models

## Challenges when Developing Medical Software that Scales

When developing component-based medical applications in the IGSTK environment, an overarching requirement is designing software specific enough to meet a particular need, but general enough to be reusable across similar applications.  For example, tracking software is used in the radiology domain to track a device or tool as it is positioned in a patient’s body.  The control for this tracking software is general, but there are multiple applications of the tracker devices, Aurora, Polaris, etc.  By employing proper software analysis and design principles, the resulting robust tracking software would require minimal customization changes in order to be applied to any number of tracker devices. As shown in this example, it is extremely important to effectively scope medical software modules.  Functionality that is too specific should be isolated from functions that meet the requirements for reuse.

Another challenge in designing software for medical devices is interface design.  Although, properly partitioned software is reusable, without effective interfaces, these modules cannot be plugged into other software systems.  As the medical profession progresses, medical software devices will require integration.  In particular, timing issues, error-handling protocols, and atomicity all represent issues that must be resolved before reliability can be placed on systems of systems in the medical domain.

Software applications must essentially speak the same language before they can be properly integrated.  In making medical decisions the context of information is extremely important.  The semantic meaning of information passed between independent software-controlled medical devices can control the state of the entire application.

## Research Addressing the Integration of Medical Applications

There is large gap between specific medical application needs and the ability to define reusable component-based functions. In the IGSTK project, we have determined a need for human-driven and/or semi-automated processes to assist in the definition of modules or components.   Although the authors have made incremental progress in this area [1]with regards to requirements definition, there still remains the need for more standard approaches across the full software design and development lifecycle.

To standardize interfaces between medical devises, new research should investigate the use of universal data representation languages for information exchange. General, well-understood medical software should also consist of standardized information exchange formats, perhaps leveraging languages such as the Extensible Markup Language (XML) [5].

## Next Steps for Integrative Software

In addressing the research needs to integrate medical applications, new special interest groups should be formed to intersect proven software engineering processes, such as the Rational Unified Process and Agile Software Development [4][6] with applications specific to the medical domain.  Such specialized forums and working groups will help to discover customization of these well-established approaches that integrate will with the idiosyncrasies specific this domain.

To assist in integrating similar medical applications across organizations, new infrastructures should be established to promote the sharing development experience, results, and software implementations. The authors have adopted various open-source development practices that have proven to be beneficial to software interoperability with other research groups.  Larger-scaled endeavors towards this end would promote software interoperability not just one domain but across medical disciplines.

Finally, there should be support for research that explores the discovery and categorization of information passed between medical applications.  Such a data management effort would be a first step towards the standardization of medical information and the establishment of standard formats and representations.

# High-Confidence Medical Device Software: Design-Time and Operations-Time

## Challenges to Reliable Medical Software and Procedures

It is important to assure that, for every step in a medical intervention, the supporting medical software reflects a valid state. At design time, standard medical procedures should be modeled in such a way that the use of medical software is understood and documented.  Later, pre-operative models should be used in real-time to confirm the necessary steps during the medical procedure.  Operative monitoring approaches of this sort should also incorporate support for error-handling and fault tolerance. With solutions to these challenges, the effectiveness of medical processes can be evaluated and generally enhanced for common procedures.

## IT Research Needs Addressing Reliability

The overarching research need is toward software assurance.  There is a need for general state-based control standards, mechanisms, and diagnostic tools to support medical software.  These approaches will help connect the actions in a medical operation with the corresponding actions of the supporting medical software.  In addition, there should be general validation approaches and supporting real-time diagnostic tools to support pre-operative and post-operative procedures.

## Next Steps

As a next step, general validation models should be investigated to validate medical processes during medical procedures.  The validation models should be vetted across multiple medical disciplines.  Building on the earlier open source development suggestions, state-based control components should be investigated and shared.  By creating an open forum to discuss concepts and implementation for software validation, standard approaches will naturally evolve.

# Conclusions

Within the IGSTK project, we have identified a number of important surrounding the areas of software design and implementations for software reliability.  Based on our observations, we believe that new research should be established that help to unite research organizations while standardizing approaches of information exchange and data management. In addition, new principled approaches should be established to help medical specialists validate processes before, during, and after medical procedures.

# Acknowlegements

This research is supported by the National Institute of Biomedical Imaging and Bioengineering (NIBIB) at the National Institute of Health (NIH) under grant R41 EB000374-01A1 and by U.S. Army grant DAMD17-99-1-9022. The content of this manuscript does not necessarily reflect the position or policy of the U.S. Government.  We also acknowledge the fruitful conversations with Will Schroeder of Kitware Incorporated.  The IGSTK project is also supported by Stephen Aylward  and Julien Jommer of the University of North Carolina-Chapel Hill and Hee Soo Kim of  ISIS.

# References

- Blake, M.B., Cleary, K., Ibanez, L., Ranjan, S. and Gary, K. " Use Case-Driven Component Specification: A Medical Applications Perspective to Product Line Development", Proceedings of the ACM Symposium on Applied Computing (SAC'05), Software Engineering Track, Sante Fe, New Mexico, March 2005

- Cleary, K., Clifford, M., Stoianovici, D., Freedman, M.T., Mun, S.K., Watson, V. “Technology improvements for image-guided and minimally invasive spine procedures” IEEE Transactions on Information Technology in Biomedicine Vol. 6, No. 4, pp 249-261, 2002

- Cleary, K., Ibanez, L., Ranjan, S.R., and Blake, M.B. “IGSTK: A Software Toolkit for Image-Guided Surgery Applications”, Proceedings of the 18th International Conference on Computer-Assisted Radiology (CARS2004), Chicago, IL, June 2004, Elsevier, 473-479.

- Cockburn, A. Agile Software Development. Addison-Wesley 2002

- Extensible Markup Language (XML) (2005): http://www.w3.org/XML/

- Kruchten, P. (2000). The Rational Unified Process—An Introduction, Second Edition, Addison-Wesley