IGSTK: Architecture and State Machine Implementation for an Open Source Software Toolkit for Image-Guided Surgery Applications

Luis Ibanez1, Julien Jommier2, David Gobbi3, Rick Avila1, Brian Blake4, Hee-su Kim5, Kevin Gary6, Stephen Aylward2, and Kevin Cleary6

1 Kitware Inc., Clifton Park, NY, 12065, USA
luis.ibanez@kitware.com, rick.avila@kitware.com

http://kitware.com/
2 Department of Radiology, University of North Carolina, Chapel Hill, NC, 27599, USA
jjomier@cs.unc.edu, aylward@unc.edu

3 Atamai Inc., London, Ontario, N6B 2R4, Canada
dgobbi@atamai.com

4 Department of Computer Science, Georgetown University, Washington, DC, 20007, USA
blakeb@cs.georgetown.edu

5 Department of Computer Science, Arizona State University, Mesa, Arizona 85212, USA
kgary@asu.edu

6 Imaging Science and Information Systems (ISIS) Center, Department of Radiology, Georgetown University Medical Center, Washington, DC, 20007, USA

cleary@georgetown.edu, hkim@isis.imac.georgetown.edu

Abstract. The abstract should summarize the contents of the paper and should contain at least 70 and at most 150 words. It should be set in 9-point font size and should be inset 1.0 cm from the right and left margins. There should be two blank (10-point) lines before and after the abstract. …

# 1   Introduction {Kevin Cleary draft 16 July 2005}

{first two paragraphs are the same as the other paper but anyone is welcome to edit or re-write this – Kevin 17 July 2005}

The image-guided software toolkit (IGSTK) is an open source project aimed at developing robust software for medical applications. Image-guided surgery involves the use of pre-operative medical images to provide image overlay and instrument guidance during the procedure. Image-guided surgery systems have been commercially available for about ten years now but this is still an active field of research and many researchers are developing prototype systems. These systems are software intensive and a lot of work is needed to develop the software for a prototype system. In addition, it is important that the software be robust and well-tested since it will be used in the medical environment.

The IGSTK project was designed to fill these needs. The toolkit contains the basic software components to construct an image-guided system including a tracker and a four-quadrant view incorporating image overlay. The highest priority in the design of the toolkit has been robustness and quality. The toolkit is based on the existing open source components ITK, VTK, and FLTK.

Creating robust software is not an easy task. From the earliest stages of the project, the developers discussed possible strategies for meeting this challenge. One of the early architecture decisions was to use a state machine construct for all of the key software components. In this paper, we will describe the overall software architecture and the state machine implementation. While the toolkit is still in a development stage, several key components have been developed including the base state machine, spatial objects, tracker objects and communications, and logging. Each component will be presented and the paper will conclude with a short example application.

# 2   Architecture

{Luis to write this section: can use architecture diagram and some material from progress report we just submitted}

# 2.1   Sample sub-header – just kept as a placeholder

Just in case anyone wants to break into subsections – but not sure we have room in a 4 page paper

# 2.2   Second sample sub-header- just a placeholder again

Just an example again

# 3   State Machine

{Luis again}

{just an example figure and figure heading below}

Fig. 1. One kernel at xs (dotted kernel) or two kernels at xi and xj (left and right) lead to the same summed estimate at xs. This shows a figure consisting of different types of lines. Elements of the figure described in the caption should be set in italics, in parentheses, as shown in this sample caption. The last sentence of a figure caption should generally end without a period

# 4   Components

{Each person gets ½ a page a most and perhaps just 1/3 a page in final version – but go ahead and write more and we can easily edit – Kevin 6/17}

# 4.1   Spatial Objects / Viewers

Julien / Rick

# 4.2   Tracker / Communications

David

# 4.3   Logging

Hee-su

# 5  Example Application

{Luis or his designee to complete this}

# 5  Conclusion

# Acknowledgement

This research is supported by the National Institute of Biomedical Imaging and Bioengineering (NIBIB) at the National Institute of Healths (NIH) under grant R41 EB000374-01A1 and by U.S. Army grant W81XWH-04-1-0078. The content of this manuscript does not necessarily reflect the position or policy of the U.S. Government.  We also acknowledge the fruitful conversations from Will Schroeder from Kitware Incorporated.  {Luis and others: maybe we should put Will as one of the authors on these papers – he did attend the review meeting and provide helpful advice – let us discuss on the tcon}

# References {example only – replace with ours}

1. Baldonado, M., Chang, C.-C.K., Gravano, L., Paepcke, A.: The Stanford Digital Library Metadata Architecture. Int. J. Digit. Libr. 1 (1997) 108–121

2. Bruce, K.B., Cardelli, L., Pierce, B.C.: Comparing Object Encodings. In: Abadi, M., Ito, T. (eds.): Theoretical Aspects of Computer Software. Lecture Notes in Computer Science, Vol. 1281. Springer-Verlag, Berlin Heidelberg New York (1997) 415–438

3. van Leeuwen, J. (ed.): Computer Science Today. Recent Trends and Developments. Lecture Notes in Computer Science, Vol. 1000. Springer-Verlag, Berlin Heidelberg New York (1995)

4. Michalewicz, Z.: Genetic Algorithms + Data Structures = Evolution Programs. 3rd edn. Springer-Verlag, Berlin Heidelberg New York (1996)