IGSTK: Framework and Example Applications Using an Open Source Toolkit for Image-Guided Surgery Applications

Kevin Clearya*, Patrick Chenga, James Zhanga, Hee-su Kimb, Kevin Garyc, M. Brian Blaked, David Gobbie, Stephen Aylwardf, Julien Jommierf, Andinet Enquobahrief, Rick Avilaf, Luis Ibanezf

aImaging Science and Information Systems (ISIS) Center, Dept. of Radiology, 
Georgetown University, Washington, DC, USA

b{ask Hee-su for present affiliation}, Korea

cDivision of Computing Studies, Arizona State University, Mesa, Arizona, 85212, USA

dDepartment of Computer Science, Georgetown University, Washington, DC, 20007, USA

eAtamai Inc., London, Ontario, N6B 2R4, Canada

fKitware Inc., Clifton Park, NY, 12065, USA

ABSTRACT

{to complete at end}.

Keywords: open source {need 2 to 4 others}

1. PURPOSE

1.1 First first level subheading if needed

The field of image-guided surgery is rapidly expanding, as image-guided procedures are minimally invasive and involve less trauma for the patient. A typical image-guided system consists of a localizer for tracking instruments and the anatomy and a computer for processing the data and displaying the results. Another key component of an image-guided system is software, which usually requires the majority of the development effort. As new localizers and algorithms are developed, each research group must develop its own image-guided system, which can be a time-consuming undertaking. The purpose of the image-guided surgery toolkit is to enable robust image-guided applications to be easily created based on open-source software.

1.2 Second first level subheading if needed

2. METHODS

The software toolkit has been under development for about six months now and a beta release will be available by the time of the conference.  Robustness and quality have been the highest priority in the design of the toolkit, which is based on the following existing opening source components: ITK for segmentation and registration, VTK for visualization, and FLTK for the user interface. The toolkit contains the basic software components to construct an image-guided system, including a localizer and a four-quadrant view incorporating image overlay.

Figure 1 presents a UML collaboration diagram of the major IGSTK components involved in a typical image-guided surgery application. The key components are from left to right:

- View class for presenting results and displays to the physician

- SpatialObjects class models physical objects including image data and simple geometrical shapes

- SpatialObjectRepresentation class provides connection between SpatialObjects & View classes

- Tracker class to store data from localizers (trackers)

IGSTK Application    Viewers            Spatial Object               Spatial Objects     Tracker

Representations

Figure 1: IGSTK Component Architecture {this is most recent figure: from IEEE Computer paper dec 2005}

3. RESULTS

The major components of the toolkit have been completed and we are beginning to create example applications using the toolkit. The toolkit has been designed as a collaborative effort between several research groups. The main focus of the design has been on providing a robust toolkit that is thoroughly tested with an emphasis on safety in the clinical environment.

4. CONCLUSIONS

Open source software has tremendous potential for improving the productivity of research labs and enabling the development of new medical applications. The image-guided software toolkit (IGSTK) should enable researchers to quickly build robust image-guided applications and enable the development of new image-guided techniques.

ACKNOWLEDGMENTS

This research is supported by the National Institute of Biomedical Imaging and Bioengineering (NIBIB) at the National Institutes of Health (NIH) under grant R42EB000374 and by U.S. Army grant W81XWH-04-1-0078. The content of this manuscript does not necessarily reflect the position or policy of the U.S. Government. The authors would like to thank the IGSTK advisory board for their advice throughout the project: Will Schroeder of Kitware; Ivo Wolf of the University of Heidelberg; Peter Kazanzides and Anton DeGuet from John Hopkins University; and Ingmar Bitter, Matt McAuliffee, and Terry Yoo from the NIH.

REfereNCES

{to be completed}

# Footnotes

* cleary@georgetown.edu; Telephone 1-202-687-8253; Fax 1-202-784-3479