May 1, 2006

Multi-Threading and Multi-Processing in IGSTK

I think this needs motivation upfront.   Why is multi-threading and multi-processing needed.   What are the advantages – what is specifically addressed.

“Image guided surgery is computationally demanding, new imaging modalities at higher resolution, faster image update rates, concurrent sensor information….   In particular for lung biopsy driven by multi-detector CT…

Multi-* is the combination of software and hardware for distributing…   Since IGSTK designed, dual-core processors have become commonplace.  IGSTK designed to be expanded to include mutl-*, but infrastructure to facilitate its use has not been implemented.  IGSTK are limited to single processors and single threads.  For lung CT, registration on a signle processor requires X minutes, and registration on a dual-processor Xeon requires Y seconds…

Challenge is maintaining safety while minimizing overhead.   Here is how multi-* jeapordizes safety…  Overhead comes from synchronization….

We have a solution…

In the first stage of IGSTK development, the use of multi-threading was purposefully kept to a minimum to avoid complexity, and multi-processing was avoided altogether (not a very positive statement).  Now that the core of IGSTK has stabilized (were we unstable programmers?), we intend to cautiously (because we are uncertain of what we are doing?) add some (unspecific) multi-processing features, but only where such features can be demonstrated to improve the safety of the toolkit.  (poor paragraph – not motivating)

There are two parts to the multi-processing proposal.  The first relates to dividing/allocating/distributing IGSTK applications into several threads and processes, in order to allow the components of IGSTK to run concurrently with one another.  The second relates to adding an inter-process communication layer to IGSTK that will allow IGSTK to safely process requests from third-party applications.  Henceforth we will identify these new features as “concurrency” and “inter-process communication”.

Multi-Processing and Concurrency

The benefits of having the components run concurrently in separate processes is as follows:

- For components that perform time-critical processing, a concurrent architecture means that other components will not able to block them.  In our existing architecture, if the application is e.g. saving a file, all other components are “put on hold” until the file-save action is complete.

- If each components runs in a separate processes, then the memory used by each component will be protected from other components: a bad memory pointer in one component will not be able to corrupt the memory in other components.

- A concurrent architecture will take advantage of the new generation of multi-core CPUs, because the processes will be spread across multiple CPU cores.

- An architecture that places different components in different processes can potentially be spread across separate computers, e.g. for use in telemedicine.

The main detriment of multi-processing is that synchronization between the components requires a more complex design.  In a single-process, single-thread system, while one component is processing a request the states of other components will not change except as a direct result of actions by the first component.  In contrast, if the components are running concurrently, state changes can occur at any time.  Fortunately we have already anticipated this through the existing designs of the state machines for our components by making sure that every possible request is safe regardless of the current state of any component.

[How much detail is needed?  Would a diagram showing component synchronization be valuable? Or a picture that looks like a screenshot of an IGSTK application with a description?]

Inter-Process Communication

It is a stated goal of IGSTK that each IGSTK application should be designed to be used within a limited domain (e.g. for one particular surgical procedure) and should be fully tested within that domain.  The more flexible an application is, the higher the probability that it will be used in a manner for which was not tested, which in turn increases the probability of failure.

We do, however, want to make it possible to use IGSTK with third-party software, since otherwise the usefulness of IGSTK to commercial entities will be very limited. What we intend, then, is to provide a sort of “firewall” that only allows third party software to communicate with IGSTK via strictly defined protocols, with all communication mediated by the component state machines.  This will ensure that the integrity of the IGSTK application will not be compromised.

For example, if there is a company that has a general-purpose image guided surgery system but wishes to incorporate an application that was written in IGSTK, then the company would use their existing tools to get the images from the hospital information network and onto the system and to collect the relevant patient information, and would then communicate this information to IGSTK which would in turn validate the information.  From that point on, IGSTK would run more-or-less independently of the rest of the system while communicating tracking and status information back to the system.

The criteria for the inter-process communication should be as follows:

- The protocol should be based on something already in wide use, such as xml-rpc over sockets.

- Each request that is communicated to IGSTK should be handled by the state machine of the appropriate IGSTK component.

- All data that is communicated must be validated